## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Fluorescent | 0.76 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1725 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 3.47651 199.924 357.624 572.179 851.2 1047.14 1245.91 1393.14 | -0.828902 224.633 389.027 582.932 808.971 1001.28 1201.77 1400.46 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Leak | Leak | Leak | Leak | Leak | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | plant.id | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Asty | Esty | Adyn | Crd | Csd | dCsd/dt | αVc | Edyn | Hr | Hs | dHs/dt | αVh | Leak | LeakPct | CorrFact | CorrFactPct | Fan | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | UseDynamic | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccCO2_soda | AccH2O_des | AccH2O_hum | CO2_hrs | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ s⁻¹ | cm³ | mmol m⁻² s⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ s⁻¹ | cm³ | µmol s⁻¹ | % |  | % | µmol s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | mg | hrs | [18 empty] | V | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1713998328.1 | 0 | 20240424 15:38:48 | 15:38:48 | 5 | test1_spot | 1713998325.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2644.2464 | 2639.5587 | 0.0059513 | 67.2011 | 0 | 16.7123 | 17.0129 | -0.0017834 | 78.5422 | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 1: Needles | 2 | TRUE | 1713998325.1 | 2594.2315 | 2599.98 | 17.0256 | 16.7152 | 2603.1655 | 17.0374 | 600.0287 | 101.6293 | 0.10001 | 26.4595 | 27.0087 | 999.9 | 0 | 0 | 9994.8882 | 0 | 9.3272 | -5.4053 | 2639.5155 | 2644.1791 | 0.3104 | 2599.98 | 16.7152 | 1.7303 | 1.6988 | 15.1709 | 14.885 | 1800.0009 | 0.978 | 0.022 | 0 | 130.6295 | 5.001 | 2588.7736 | 17042.2 | 37.6306 | 38.2385 | 37.937 | 37.6135 | 38.7385 | 1755.51 | 39.49 | 0 | 1713998416.8 | 0 | 1713998347.1 | 15:39:07 | 1713998347.1 | 1713998087 | 6 | -0.343 | 0.009 | -8.934 | -0.013 | 2599 | 17 | 0.57 | 0.17 | -6.0757 | 7.9897 | 0.90761 | 0 | 0.32128 | -0.040939 | 0.014224 | 1 | 1 | 2 | 1/2 | 3.2294 | 2.7043 | 0.34064 | 0.3411 | 0.091054 | 0.090343 | 21524.2 | 21032.3 | 31247.2 | 30246.2 | 38042.5 | 36397.9 | 43784.5 | 42250.3 | 2.115 | 1.9072 | 0.13053 | 0 | 24.8702 | 999.9 | 53.8 | 31 | 23.8844 | 61.9755 | 21.23 | 1 | -0.078803 | -0.15376 | 20.1435 | 5.2284 | 11.9974 | 4.9672 | 3.297 | 9999 | 9999 | 9999 | 17.1 | 4.9714 | 1.868 | 1.8594 | 1.8655 | 1.8634 | 1.8648 | 1.8602 | 1.8643 | 0 | 0 | 0 | 0 | 10111111 | oioooooo | on | on | on | on | 0 | 100 | 100 | -8.934 | -0.0119 | -8.5905 | 0 | 0 | 0 | -0.041097 | 0.0066825 | -0.00072004 | 2.515e-05 | 15 | 1944 | 3 | 20 | 3.9 | 4 | 4.8377 | 2.3486 | 1.4478 | 2.3022 | 1.5515 | 2.2644 | 36.0347 | 24.1488 | 18 | 584.922 | 455.355 | 25.0004 | 26.0597 | 29.9998 | 26.1633 | 26.131 | 96.8437 | 40.1641 | 68.1882 | 25 | 2600 | 16.7072 | 99.1518 | 100.943

## Remarks
File opened | 2024-04-24 15:29:37
Console s/n | 68C-022579
Console ver | Bluestem v.2.1.09
Scripts ver | 2022.06 2.1.09, Dec 2022
Head s/n | 68H-422569
Head ver | 1.4.22
Head cal | {"oxygen": "21", "co2azero": "0.953182", "co2aspan1": "1.0007", "co2aspan2": "-0.0241478", "co2aspan2a": "0.320658", "co2aspan2b": "0.318399", "co2aspanconc1": "2491", "co2aspanconc2": "303.6", "co2bzero": "0.942748", "co2bspan1": "1.00024", "co2bspan2": "-0.0240419", "co2bspan2a": "0.321302", "co2bspan2b": "0.318896", "co2bspanconc1": "2491", "co2bspanconc2": "303.6", "h2oazero": "1.04539", "h2oaspan1": "1.00536", "h2oaspan2": "0", "h2oaspan2a": "0.0681292", "h2oaspan2b": "0.0684947", "h2oaspanconc1": "12.16", "h2oaspanconc2": "0", "h2obzero": "1.05523", "h2obspan1": "1.00305", "h2obspan2": "0", "h2obspan2a": "0.0685762", "h2obspan2b": "0.0687854", "h2obspanconc1": "12.16", "h2obspanconc2": "0", "tazero": "0.154137", "tbzero": "0.259335", "flowmeterzero": "2.48881", "flowazero": "0.29412", "flowbzero": "0.30539", "chamberpressurezero": "2.55489", "ssa_ref": "37836.8", "ssb_ref": "35909.7"}
CO2 rangematch | Tue Apr 23 10:36
H2O rangematch | Tue Apr 23 10:46
Chamber type | 6800-01A
Chamber s/n | MPF-842225
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-842225
Flr. Version | 1.4.7
15:29:37 | Stability Definition: ΔCO2 (Meas2): Slp<0.1 Per=20 ΔH2O (Meas2): Slp<0.1 Per=20
15:29:56 | testing sot measurements
15:30:03 | testing spot measurements