## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Fluorescent | 0.76 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1725 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 3.88968 200.48 356.515 570.788 848.82 1048.95 1250.56 1392.32 | -0.806277 227.723 388.278 582.591 808.426 1002.11 1201.65 1401.03 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Dynamic | Leak | Leak | Leak | Leak | Leak | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | plant.id | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Asty | Esty | Adyn | Crd | Csd | dCsd/dt | αVc | Edyn | Hr | Hs | dHs/dt | αVh | Leak | LeakPct | CorrFact | CorrFactPct | Fan | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | UseDynamic | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccCO2_soda | AccH2O_des | AccH2O_hum | CO2_hrs | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s |  | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ s⁻¹ | cm³ | mmol m⁻² s⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ s⁻¹ | cm³ | µmol s⁻¹ | % |  | % | µmol s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ |  |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | mg | hrs | [18 empty] | V | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1710702655.5 | 0 | 20240317 12:10:55 | 12:10:55 | 15 |  | 1710702647.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428.6321 | 429.0866 | 6.3138e-05 | 67.1544 | 0 | 20.0469 | 20.0373 | -7.6417e-06 | 78.5299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | TRUE | 1710702647.75 | 420.1978 | 420.0097 | 20.0375 | 20.0463 | 423.1968 | 20.0882 | 600.0291 | 101.7611 | 0.099907 | 26.0048 | 26.1131 | 999.9 | 0 | 0 | 10005.325 | 0 | 6.1399 | 0.49786 | 429.1058 | 428.6016 | -0.0087945 | 420.0097 | 20.0463 | 2.039 | 2.0399 | 17.7508 | 17.7577 | 0.005001 | 0 | 0 | 0 | 112.7633 | 0.005001 | -4.0833 | -1.3933 | 35.5083 | 40.3914 | 37.8915 | 40.7164 | 38.1747 | 0 | 0 | 0 | 1710702749.1 | 0 | 1710702673 | 12:11:13 | 1710702673 | 1709496980.5 | 1 | -0.31 | 0.03 | -2.999 | -0.041 | 420 | 13 | 0.36 | 0.1 | 0.50483 | -0.22985 | 0.042772 | 1 | 111.5294 | 5.6134 | 7.6268 | 0 | -0.0093333 | 0.011421 | 0.0015039 | 1 | 2 | 3 | 2/3 | 3.231 | 2.7043 | 0.10717 | 0.10692 | 0.10309 | 0.10354 | 29234.9 | 28627.7 | 31349 | 30378.1 | 37660.2 | 35996.1 | 43937.9 | 42412.2 | 2.1545 | 1.9831 | 0.10949 | 0 | 24.3088 | 999.9 | 70.5 | 24.2 | 20.9995 | 61.9155 | 22.2716 | 1 | -0.19647 | 0 | 20.224 | 5.2291 | 11.992 | 4.9677 | 3.297 | 9999 | 9999 | 9999 | 291 | 4.9711 | 1.8677 | 1.8588 | 1.865 | 1.863 | 1.8643 | 1.8597 | 1.8639 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | -2.999 | -0.0508 | -1.1316 | -0.0032991 | -1.0628e-06 | 3.8213e-10 | -0.023905 | 0.0021068 | -0.00043171 | 1.2961e-05 | 2 | 2049 | 2 | 30 | 20094.5 | 20094.6 | 1.1328 | 2.3938 | 1.4478 | 2.3206 | 1.5515 | 2.3804 | 29.5804 | 15.5943 | 18 | 595.984 | 489.197 | 25.5571 | 24.6264 | 30 | 24.6012 | 24.5386 | 22.6742 | 9.8068 | 100 | -999.9 | 420 | 20 | 99.4889 | 101.352
2 | 1710702709.5 | 54 | 20240317 12:11:49 | 12:11:49 | 15 |  | 1710702701.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428.5772 | 428.8122 | 0.00029228 | 67.1793 | 0 | 20.0576 | 20.0547 | 9.057e-06 | 78.5496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | TRUE | 1710702701.75 | 420.2121 | 420.0112 | 20.0521 | 20.0575 | 423.2131 | 20.1029 | 599.9989 | 101.7598 | 0.099908 | 25.9869 | 26.094 | 999.9 | 0 | 0 | 10008.258 | 0 | 6.1051 | 0.20237 | 428.8123 | 428.608 | -0.0053734 | 420.0112 | 20.0575 | 2.0405 | 2.041 | 17.7622 | 17.7664 | 0.005001 | 0 | 0 | 0 | 109.4033 | 0.005001 | -2.6467 | -1.2833 | 35.7748 | 40.8581 | 38.2038 | 41.5623 | 38.5123 | 0 | 0 | 0 | 1710702803.1 | 0 | 1710702725.5 | 12:12:05 | 1710702725.5 | 1709496980.5 | 2 | -0.002 | 0.03 | -3.001 | -0.041 | 420 | 13 | 0.22 | 0.1 | 0.20326 | 0.044907 | 0.032303 | 1 | 109.4147 | -7.3018 | 5.3996 | 0 | -0.0052112 | -0.00026764 | 0.0010086 | 1 | 2 | 3 | 2/3 | 3.2312 | 2.7047 | 0.10718 | 0.10689 | 0.10315 | 0.10359 | 29234.2 | 28627.8 | 31348.5 | 30377.2 | 37656.9 | 35993.7 | 43937.1 | 42411.4 | 2.1563 | 1.9822 | 0.11187 | 0 | 24.2593 | 999.9 | 70.3 | 24.2 | 20.9426 | 61.4955 | 22.1675 | 1 | -0.19652 | 0 | 20.2239 | 5.229 | 11.992 | 4.9677 | 3.297 | 9999 | 9999 | 9999 | 291 | 4.9711 | 1.8677 | 1.8588 | 1.865 | 1.863 | 1.8643 | 1.8597 | 1.8639 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | -3.001 | -0.0508 | -1.4419 | -0.0032991 | -1.0628e-06 | 3.8213e-10 | -0.023905 | 0.0021068 | -0.00043171 | 1.2961e-05 | 2 | 2049 | 2 | 30 | 0.6 | 20095.5 | 1.1316 | 2.4023 | 1.449 | 2.3206 | 1.5515 | 2.1997 | 29.623 | 15.5943 | 18 | 597.194 | 488.573 | 25.5248 | 24.6223 | 30.0002 | 24.5991 | 24.5355 | 22.6764 | 9.8068 | 100 | -999.9 | 420 | 20 | 99.4872 | 101.35
3 | 1710702801.5 | 146 | 20240317 12:13:21 | 12:13:21 | 15 |  | 1710702793.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428.5723 | 428.7703 | -0.0004754 | 67.1805 | 0 | 20.0364 | 20.0391 | 1.4524e-06 | 78.5494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | TRUE | 1710702793.5 | 420.1842 | 420.0023 | 20.0386 | 20.0363 | 423.2172 | 20.0894 | 600.0289 | 101.7584 | 0.1 | 25.9567 | 26.0595 | 999.9 | 0 | 0 | 10001.6926 | 0 | 6.0659 | 0.21306 | 428.8082 | 428.5897 | 0.002346 | 420.0023 | 20.0363 | 2.0391 | 2.0389 | 17.7513 | 17.7494 | 0.05001 | 0 | 0 | 0 | 121.4661 | 0.05001 | -5.3374 | -1.3768 | 35.2034 | 38.9131 | 37.3062 | 39.1026 | 37.3244 | 0 | 0 | 0 | 1710702894.9 | 0 | 1710702817.5 | 12:13:37 | 1710702817.5 | 1709496980.5 | 3 | -0.032 | 0.03 | -3.033 | -0.041 | 420 | 13 | 0.22 | 0.1 | 0.21159 | 0.069245 | 0.019852 | 1 | 121.1409 | -0.17678 | 1.6636 | 1 | 0.0022935 | 0.001639 | 0.00065149 | 1 | 3 | 3 | 3/3 | 3.2309 | 2.7044 | 0.10716 | 0.10688 | 0.10308 | 0.1035 | 29235.7 | 28628.3 | 31349.4 | 30377.5 | 37660.7 | 35998 | 43938.3 | 42412.3 | 2.1578 | 1.9825 | 0.1116 | 0 | 24.2277 | 999.9 | 70.2 | 24.3 | 21.0368 | 62.0755 | 22.5681 | 1 | -0.197 | 0 | 20.222 | 5.2282 | 11.992 | 4.9676 | 3.297 | 9999 | 9999 | 9999 | 291 | 4.9711 | 1.8677 | 1.8588 | 1.865 | 1.863 | 1.8643 | 1.8598 | 1.8639 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | -3.033 | -0.0507 | -1.4442 | -0.0032991 | -1.0628e-06 | 3.8213e-10 | -0.023905 | 0.0021068 | -0.00043171 | 1.2961e-05 | 2 | 2049 | 2 | 30 | 1.3 | 20097 | 1.1328 | 2.3987 | 1.4478 | 2.3206 | 1.5515 | 2.4853 | 29.687 | 15.5855 | 18 | 598.153 | 488.704 | 25.4769 | 24.614 | 30 | 24.593 | 24.5304 | 22.677 | 10.0776 | 100 | -999.9 | 420 | 20 | 99.4902 | 101.351
4 | 1710702923.5 | 268 | 20240317 12:15:23 | 12:15:23 | 15 |  | 1710702915.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428.6325 | 428.7867 | 0.00084766 | 67.1812 | 0 | 20.0324 | 20.0393 | -2.7029e-06 | 78.5493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | TRUE | 1710702915.5 | 420.1691 | 420.011 | 20.0443 | 20.0326 | 423.1991 | 20.095 | 600.0285 | 101.7592 | 0.099944 | 25.8746 | 25.9849 | 999.9 | 0 | 0 | 10007.9048 | 0 | 6.0486 | 0.15413 | 428.7593 | 428.5969 | 0.011733 | 420.011 | 20.0326 | 2.0397 | 2.0385 | 17.7559 | 17.7466 | 0.05001 | 0 | 0 | 0 | 129.5558 | 0.05001 | -5.8097 | -1.4335 | 35.0925 | 39.6853 | 37.3647 | 39.7135 | 37.6852 | 0 | 0 | 0 | 37.4 | 0 | 1710702939.5 | 12:15:39 | 1710702939.5 | 1709496980.5 | 4 | 0.003 | 0.03 | -3.03 | -0.041 | 420 | 13 | 0.29 | 0.1 | 0.15518 | -0.12948 | 0.026828 | 1 | 130.3824 | -13.6419 | 2.282 | 0 | 0.013892 | -0.04534 | 0.0059976 | 1 | 2 | 3 | 2/3 | 3.2309 | 2.7044 | 0.10718 | 0.10691 | 0.1031 | 0.10349 | 29236.3 | 28627.7 | 31350.7 | 30377.6 | 37661.8 | 35998.7 | 43940.2 | 42412.8 | 2.1577 | 1.9821 | 0.10889 | 0 | 24.191 | 999.9 | 70 | 24.4 | 21.1018 | 61.8455 | 22.2516 | 1 | -0.19764 | 0 | 20.2239 | 5.2284 | 11.992 | 4.9674 | 3.297 | 9999 | 9999 | 9999 | 291 | 4.9711 | 1.8677 | 1.8588 | 1.865 | 1.863 | 1.8643 | 1.8598 | 1.8639 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | -3.03 | -0.0507 | -1.4765 | -0.0032991 | -1.0628e-06 | 3.8213e-10 | -0.023905 | 0.0021068 | -0.00043171 | 1.2961e-05 | 2 | 2049 | 2 | 30 | 1.8 | 20099 | 1.1316 | 2.3975 | 1.449 | 2.3193 | 1.5515 | 2.279 | 29.751 | 15.5592 | 18 | 597.995 | 488.419 | 25.4164 | 24.6037 | 30.0002 | 24.5848 | 24.5222 | 22.6721 | 10.3525 | 100 | -999.9 | 420 | 20 | 99.4943 | 101.352
5 | 1710703054.5 | 399 | 20240317 12:17:34 | 12:17:34 | 15 |  | 1710703046.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 428.5803 | 428.7095 | -0.00027197 | 67.181 | 0 | 20.0212 | 20.0538 | -1.5286e-05 | 78.5493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | TRUE | 1710703046.5 | 420.1512 | 419.9919 | 20.0661 | 20.0415 | 423.1642 | 20.1168 | 599.9931 | 101.7571 | 0.099969 | 25.8744 | 26.1289 | 999.9 | 0 | 0 | 9996.9694 | 0 | 6.1051 | 0.14188 | 428.7368 | 428.5813 | 0.02467 | 419.9919 | 20.0415 | 2.0419 | 2.0394 | 17.7728 | 17.7533 | 522.804 | 0.064516 | 0 | 0 | 153.7927 | 1.6179 | 2570.2355 | 4982.0968 | 35.8767 | 40.9675 | 38.1972 | 41.8525 | 38.5564 | 521.1865 | 0 | 0 | 12.7 | 0.096774 | 1710703070.5 | 12:17:50 | 1710703070.5 | 1709496980.5 | 5 | 0.017 | 0.03 | -3.013 | -0.041 | 420 | 13 | 0.14 | 0.1 | 0.14408 | -0.089509 | 0.034426 | 1 | 148.3404 | -15.9355 | 82.7119 | 0 | 0.019586 | 0.16162 | 0.017573 | 0 | 1 | 3 | 1/3 | 3.2307 | 2.7042 | 0.10716 | 0.10691 | 0.10314 | 0.10344 | 29237.6 | 28628.2 | 31351.6 | 30378.1 | 37661.5 | 36000.9 | 43942.1 | 42413.4 | 2.1582 | 1.9813 | 0.11121 | 0 | 24.1711 | 999.9 | 69.8 | 24.4 | 21.0427 | 62.0355 | 22.7604 | 1 | -0.19816 | 0 | 20.224 | 5.2291 | 11.992 | 4.9679 | 3.297 | 9999 | 9999 | 9999 | 291.1 | 4.9711 | 1.8677 | 1.8588 | 1.865 | 1.8631 | 1.8643 | 1.8598 | 1.8639 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | -3.013 | -0.0508 | -1.473 | -0.0032991 | -1.0628e-06 | 3.8213e-10 | -0.023905 | 0.0021068 | -0.00043171 | 1.2961e-05 | 2 | 2049 | 2 | 30 | 1.9 | 20101.2 | 1.1328 | 2.4109 | 1.4478 | 2.3193 | 1.5515 | 2.4438 | 29.8364 | 15.5592 | 18 | 598.255 | 487.846 | 25.3626 | 24.5937 | 30.0001 | 24.5766 | 24.5141 | 22.6736 | 10.6286 | 100 | -999.9 | 420 | 20 | 99.498 | 101.354

## Remarks
File opened | 2024-03-19 11:03:36
Console s/n | 68C-022579
Console ver | Bluestem v.2.1.09
Scripts ver | 2022.06 2.1.09, Dec 2022
Head s/n | 68H-422569
Head ver | 1.4.22
Head cal | {"oxygen": "21", "co2azero": "0.953182", "co2aspan1": "1.0007", "co2aspan2": "-0.0241478", "co2aspan2a": "0.320658", "co2aspan2b": "0.318399", "co2aspanconc1": "2491", "co2aspanconc2": "303.6", "co2bzero": "0.942748", "co2bspan1": "1.00024", "co2bspan2": "-0.0240419", "co2bspan2a": "0.321302", "co2bspan2b": "0.318896", "co2bspanconc1": "2491", "co2bspanconc2": "303.6", "h2oazero": "1.04539", "h2oaspan1": "1.00536", "h2oaspan2": "0", "h2oaspan2a": "0.0681292", "h2oaspan2b": "0.0684947", "h2oaspanconc1": "12.16", "h2oaspanconc2": "0", "h2obzero": "1.05523", "h2obspan1": "1.00305", "h2obspan2": "0", "h2obspan2a": "0.0685762", "h2obspan2b": "0.0687854", "h2obspanconc1": "12.16", "h2obspanconc2": "0", "tazero": "0.154137", "tbzero": "0.259335", "flowmeterzero": "2.48881", "flowazero": "0.29412", "flowbzero": "0.30539", "chamberpressurezero": "2.55489", "ssa_ref": "37836.8", "ssb_ref": "35909.7"}
CO2 rangematch | Tue Oct 24 10:12
H2O rangematch | Tue Oct 24 11:42
Chamber type | 6800-01A
Chamber s/n | MPF-842225
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-842225
Flr. Version | 1.4.7
11:03:36 | Stability Definition: ΔCO2 (Meas2): Slp<0.5 Per=20 ΔH2O (Meas2): Slp<0.1 Per=20 F (FlrLS): Slp<1 Per=20
11:04:09 | testing licor setings on segi seedlings